## Sheet1
Address | Daily Full Load Hours | Daily Yield | Fault Time | Inverter Online/Total | Owner | PV Capacity | Plant Name | Plant Status | Power | Total Yield | Update Time
G923+4PX,Pragathi Enclave,Miyapur,Telangana,India | 2.76h | 55.2kWh | 21/02/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 20kWp | RV2 | Offline | 0kW | 39.075MWh | 29/06/2026 19:48:53 (UTC+05:30)
BLOCK-D,Pragathi Enclave,Miyapur,Telangana,India | 2.58h | 51.6kWh | -- | 0/1 | -- | 20kWp | RV1 | Offline | 0kW | 37.271MWh | 29/06/2026 19:48:53 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 2.67h | 13.2kWh | 23/03/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.95kWp | melgiri enterprises house 3 | Offline | 0kW | 10.499MWh | 29/06/2026 19:43:37 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 2.84h | 7.8kWh | 26/02/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 2.75kWp | melgiri enterprises | Offline | 0kW | 5.288MWh | 29/06/2026 19:38:42 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 1.35h | 10.4kWh | 23/03/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 7.7kWp | melgiri enterprises house 2 | Offline | 0kW | 3.638MWh | 29/06/2026 19:38:42 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 2.67h | 12.5kWh | 18/08/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.69kWp | Melgiri Farm 02 | Offline | 0kW | 5.936MWh | 29/06/2026 19:38:42 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 2.62h | 12.3kWh | 28/01/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.69kWp | Melgiri Farms 01 | Offline | 0kW | 5.57MWh | 29/06/2026 19:33:50 (UTC+05:30)
5-5-35/146,Kukatpally,Hyderabad,Telangana,India | 3.2h | 16kWh | -- | 0/1 | -- | 5kWp | Magna Villa 15 | Offline | 0kW | 4.612MWh | 29/06/2026 19:43:37 (UTC+05:30)
G923+4PX,Pragathi Enclave,Miyapur,Telangana,India | 1.92h | 38.4kWh | 21/02/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 20kWp | RV2 | Online | 5.47kW | 39.192MWh | 01/07/2026 12:49:11 (UTC+05:30)
BLOCK-D,Pragathi Enclave,Miyapur,Telangana,India | 1.8h | 36kWh | -- | 1/1 | -- | 20kWp | RV1 | Online | 5.08kW | 37.382MWh | 01/07/2026 12:49:11 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 2.04h | 10.1kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.95kWp | melgiri enterprises house 3 | Online | 2.9kW | 10.527MWh | 01/07/2026 12:51:16 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 2h | 5.5kWh | 26/02/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 2.75kWp | melgiri enterprises | Online | 1.51kW | 5.304MWh | 01/07/2026 12:49:11 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 1.04h | 8kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 7.7kWp | melgiri enterprises house 2 | Online | 2.24kW | 3.66MWh | 01/07/2026 12:51:05 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 1.9h | 8.9kWh | 18/08/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.69kWp | Melgiri Farm 02 | Online | 1.79kW | 5.963MWh | 01/07/2026 12:49:11 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 1.56h | 7.3kWh | 28/01/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.69kWp | Melgiri Farms 01 | Online | 1.85kW | 5.592MWh | 01/07/2026 12:50:53 (UTC+05:30)
5-5-35/146,Kukatpally,Hyderabad,Telangana,India | 1.74h | 8.7kWh | -- | 1/1 | -- | 5kWp | Magna Villa 15 | Online | 2.83kW | 4.638MWh | 01/07/2026 12:49:11 (UTC+05:30)
G923+4PX,Pragathi Enclave,Miyapur,Telangana,India | 0.85h | 17kWh | 21/02/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 20kWp | RV2 | Online | 4.94kW | 39.292MWh | 03/07/2026 11:29:08 (UTC+05:30)
BLOCK-D,Pragathi Enclave,Miyapur,Telangana,India | 0.8h | 15.9kWh | -- | 1/1 | -- | 20kWp | RV1 | Online | 4.86kW | 37.475MWh | 03/07/2026 11:29:06 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.91h | 4.5kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.95kWp | melgiri enterprises house 3 | Online | 1.19kW | 10.55MWh | 03/07/2026 11:29:06 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.84h | 2.3kWh | 26/02/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 2.75kWp | melgiri enterprises | Online | 0.47kW | 5.316MWh | 03/07/2026 11:29:06 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.45h | 3.5kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 7.7kWp | melgiri enterprises house 2 | Online | 0.92kW | 3.678MWh | 03/07/2026 11:29:06 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 0.58h | 2.7kWh | 18/08/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.69kWp | Melgiri Farm 02 | Offline | 0kW | 5.988MWh | 03/07/2026 10:53:23 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 0.53h | 2.5kWh | 28/01/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.69kWp | Melgiri Farms 01 | Offline | 0kW | 5.614MWh | 03/07/2026 10:49:06 (UTC+05:30)
JFHH+C9,Medchal,Secunderabad,Telangana,India | 0h | 0kWh | 01/04/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.4kWp | Abhilash Reddy Incrible Hallmark Villa No.24 | Offline | 0kW | 1.959MWh | 29/06/2026 17:43:21 (UTC+05:30)
5-5-35/146,Kukatpally,Hyderabad,Telangana,India | 1.02h | 5.1kWh | -- | 1/1 | -- | 5kWp | Magna Villa 15 | Online | 1.24kW | 4.666MWh | 03/07/2026 11:29:06 (UTC+05:30)
Yaganti Road,Yaganti,Patapadu,Andhra Pradesh,India | 0h | 0kWh | -- | 0 | nagaraju.yaganti | 9.9kWp | arya Vysya anna satram | Offline | 0kW | 0kWh | 26/06/2026 18:41:35 (UTC+05:30)
942X+922,Adalpur,Haryana,India | 0h | 0kWh | -- | 0 | -- | 50kWp | Central University Of Haryana | Offline | 0kW | 0kWh | 31/05/2025 12:07:07 (UTC+05:30)
G923+4PX,Pragathi Enclave,Miyapur,Telangana,India | 0h | 0kWh | 21/02/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 20kWp | RV2 | Offline | 0kW | 39.357MWh | 05/07/2026 09:03:53 (UTC+05:30)
BLOCK-D,Pragathi Enclave,Miyapur,Telangana,India | 0h | 0kWh | 05/07/2026 08:33:31 (UTC+05:30) | 0/1 | -- | 20kWp | RV1 | Offline | 0kW | 37.538MWh | 05/07/2026 09:03:53 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.42h | 2.1kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.95kWp | melgiri enterprises house 3 | Online | 1.43kW | 10.581MWh | 06/07/2026 09:53:22 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.33h | 0.9kWh | 26/02/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 2.75kWp | melgiri enterprises | Online | 0.58kW | 5.33MWh | 06/07/2026 09:53:22 (UTC+05:30)
Doctor Bhoomanna Lane3-4-22,Kachiguda,Hyderabad,Telangana,India | 0.21h | 1.6kWh | 23/03/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 7.7kWp | melgiri enterprises house 2 | Online | 1.52kW | 3.701MWh | 06/07/2026 09:54:31 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 0.36h | 1.7kWh | 18/08/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.69kWp | Melgiri Farm 02 | Online | 1.31kW | 6.014MWh | 06/07/2026 09:53:22 (UTC+05:30)
8898+8P,Yenikepally,Telangana,India | 0.3h | 1.4kWh | 28/01/2025 21:30:00 (UTC+05:30) | 1/1 | -- | 4.69kWp | Melgiri Farms 01 | Online | 0.9kW | 5.637MWh | 06/07/2026 09:53:22 (UTC+05:30)
JFHH+C9,Medchal,Secunderabad,Telangana,India | 0h | 0kWh | 01/04/2025 21:30:00 (UTC+05:30) | 0/1 | -- | 4.4kWp | Abhilash Reddy Incrible Hallmark Villa No.24 | Offline | 0kW | 1.965MWh | 05/07/2026 13:59:40 (UTC+05:30)
Cluster_serilingampally 10 Villa-41,Osman Nagar,Hyderabad,Telangana,India | 0h | 0kWh | 21/08/2024 21:30:00 (UTC+05:30) | 0/1 | -- | 6kWp | Magna Villa 41 | Offline | 0kW | 14.298MWh | 03/02/2026 14:12:42 (UTC+05:30)
5-5-35/146,Kukatpally,Hyderabad,Telangana,India | 0.32h | 1.6kWh | -- | 1/1 | -- | 5kWp | Magna Villa 15 | Online | 0.84kW | 4.693MWh | 06/07/2026 09:53:36 (UTC+05:30)